## Slide 1: Laboratory diagnostic methods
A case study approach to the use of the labs: chemical pathology, virology, bacteriology, cellular pathology and antibody detection
Professor Karim Meeran, Dr Mark Atkins, Dr Hugo Donaldson, Dr Keith Gould and Professor Robert Goldin

## Slide 2: Laboratory Diagnostic Methods
Aim: To be able to understand the suitability and timely use of pathology tests in appropriate laboratories and realise the value of such tests to the patient

## Slide 3: Case Study
Billy is 26 years old. He has not felt 100% since his holiday in Thailand 4 months ago and has vague aches and pains, loss of appetite, weight loss and has noticed that he has “glands” up in his neck.
On return from Thailand he had a fever, rash, small red patches, some were lumpy, this has subsided.
He also had diarrhoea.

## Slide 4: What tests is the GP to do?
Likely causes of fever, rash lymphadenopathy?
Viral illness e.g. Glandular fever
Diarrhoea
Virus, bacteria, parasites
Tests
FBC, ESR, CRP
LFTs
U&Es
Blood Glucose
Ix of viral illness
Stool culture - Bacteriology

## Slide 5: Chemical Pathology Lab
Prof Karim Meeran

## Slide 6: What tests is the GP to do?
Likely causes of fever, rash lymphadenopathy?
Viral illness e.g.Glandular fever
Diarrhoea
Virus, bacteria, parasites
Tests
FBC, ESR, CRP
LFTs
U&Es
Blood Glucose
Ix of viral illness
Stool culture - Bacteriology

## Slide 7: What tests is the GP to do?
Tests
LFTs: Liver function tests
U&Es: Urea and electrolytes
Blood Glucose

## Slide 10: Why does the GP want to know these results?
Because he wants to make a diagnosis and, from the history and examination, thinks that these might either give him a clue, or the diagnosis

## Slide 11: Who will take the blood?
GP
Practice Nurse
Junior doctor
Medical student visiting the practice?

## Slide 12: If you are collecting the blood
Which tube should you use?
If you get it wrong, the sample will have to be thrown away
Make SURE you get the correct patient

## Slide 13: If you are collecting the blood
LABEL the tube with the patient’s details
If it is urgent, ensure the sample gets to the lab in time
Watch the Year 1 video on How to take blood: Mike Ferenczi (Vacutainer)

## Slide 14: Different tubes
have different anticoagulants :
Red top - have none
Yellow top - have gel to speed up clot
Purple top - have potassium EDTA
Grey top - have fluoride oxalate (poison)

## Slide 15: Sample collection
U&E : serum in yellow/red top
Glucose: plasma in grey top
HBA1c: plasma in purple top
TFT: serum in yellow/red top
Liver function tests: in yellow/red top

## Slide 16: Serum or plasma?
What is the difference?

## Slide 17: No anticoagulant
U&E : serum in yellow/red top
Blood clots, using up all clotting factors
Clot can be removed, leaving serum

## Slide 19: Any anticoagulant
EDTA or heparin
Clotting factors unused
Blood can be separated into red cells and plasma

## Slide 23: Measuring glucose*
Red cells consume glucose (anaerobic glycolysis), so the longer this is left out, the lower the glucose may read
Fluoride Oxalate (poison) prevents the red cells from using glucose
(write this down*)

## Slide 24
Fluoride oxalate poisons the red cells and so glucose levels stabilise: otherwise the red cells will consume the glucose

## Slide 27: Chemical pathologists…
Are in charge of the Chem Path laboratories
Also do research into better methods of getting results
Also do metabolic medicine clinics
Do some tests…

## Slide 28: What happens to the sample?
Chemistry is carried out on the serum or plasma
Thus, the red cells need to be separated off by centrifugation
Then, measure the concentration of…

## Slide 29: When do you need to contact a chemical pathologist ?
When you want the sample to be rapidly centrifuged out of hours
When you want to measure labile hormones such as insulin
When you urgently need CSF glucose and protein to be measured

## Slide 30: Results
Are available on computer
If urgent are phoned to the requesting clinician
How is the “reference range” determined?
Interpretation of the results…

## Slide 31: Results
Electrolytes:
Na: 125 mM (NR 135 – 145)
K: 6.0 mM (NR 3.5 – 5.0)
U: 12.4 mM (NR 2.0 – 6.0)
Cr: 100 micromol/l (NR 70 – 120)

## Slide 32: Results (Q1 and Q2)*
What about electrolytes:
Na: 125 mM (NR 135 – 145)
K: 6.0 (NR 3.5 – 5.0)
Adrenal failure* (Q1)
(beware haemolysis*) (Q2)
LOW
HIGH
Think of the endocrine causes…

## Slide 33: Renal function
Na: sodium
K: potassium
Urea 12.4 (3.5 – 6)
Creatinine 100 (70 – 120)
In renal failure, the concentration of urea* and creatinine* rise

## Slide 34: Renal function
Urea 12.4 (3.5 – 6)
Creatinine 100 (70 – 120)
In renal failure, the concentration of urea* and creatinine* rise.
Discrepancy?
RAISED
NORMAL

## Slide 35: Renal function
Creatinine is a marker of glomerular filtration rate. If it is normal, then the GFR is normal. Very little is absorbed or secreted by the tubules.
Urea levels rise when a patient is dehydrated but GFR stays the same to the end.

## Slide 36: Liver enzymes
Are present in the liver
A tiny amount normally leaks into the blood
In liver disease, more of these enzymes leak into the blood
With experience you can tell what liver disease a patient has from the pattern of the leak…

## Slide 38: Liver function and enzymes
In addition to “Liver”, one would need to measure AST and GGT in a patient with jaundice
“Liver” includes
Albumin: synthesised in the liver
Bilirubin
Alkaline Phosphatase
ALT (alanine amino-transferase)

## Slide 39: Billy’s results
Na (sodium) 125mmol/l (135 – 145)
K (potassium) 6.0 mmol/l (3.5 – 5.0) (not haemolysed)
Urea 12.4 mmol/l (2.0 – 6.0)
Cr (creatinine) 100 micromol/l (70 – 120)
Albumin 22 g/dl (35 – 50)*
Bilirubin 50 (0 – 17 micromol/l)*
Alkaline Phosphatase 170 IU/l (0-130)*
ALT (alanine amino-transferase) 250 (0-40)*
AST (aspartate amino-transferase) 250 (0-50)*
Glucose 4.5 mM (3.5 – 5.5)

## Slide 40: Making a diagnosis
Ask the patient what is wrong
Take history: 26-year-old who has been to Thailand
Examine the patient
Do some tests…

## Slide 41: Making a diagnosis
Once you have taken a history and examined the patient, you should have some idea of what is wrong with the patient: use the knowledge you have acquired during years 1 and 2 so far.

## Slide 42: Making a diagnosis
When the consultant asks you the diagnosis, don’t pretend that no one has ever taught you about things you know…

## Slide 43: Making a diagnosis
History
Examination
Make a plan: the plan should include doing some investigations…

## Slide 45: Cardiac enzymes
Are present in the heart muscle
During a heart attack, heart muscle is damaged
These enzymes leak into the blood in large amounts
Thus we can tell you if someone has really had a heart attack

## Slide 46: Cardiac enzymes
Troponins
Creatine kinase (CK)
Aspartate amino transferase (AST)
Lactate Dehydrogenase (LDH)

## Slide 48: During your year 3 firms…
You need to see patients at whatever site you are on EVERY DAY
Take a history
You will be taught this during your first firm

## Slide 49: When in casualty
You need to try and get involved with the management of patients
Helping the house officers and SHOs fill out blood request forms
Take blood (Vacutainer?)
Understand which tests are required

## Slide 50: Interpretation of Billy’s results
Low Na and high K
High urea with normal creatinine
Low albumin
Raised Bilirubin
Raised liver enzymes

## Slide 51: Diagnostic Virology
Dr Mark Atkins

## Slide 52: Diagnostic Virology Tools
History
Physical examination
Laboratory tests
Make a list of possible causes
Determine which tests to request
“non-specific”
Virological

## Slide 55: Diagnostic methods
Cell culture
Electron microscopy
Antibody detection
Antigen detection
Genome detection
Antigen sub-typing
Genome typing
Quantification of antigens and genomes (now essential for diagnosis and monitoring of HIV, HBV and HCV)

## Slide 56: Typical samples used
Throat swab - for PCR
Stools - for EM, rotavirus EIA & norovirus PCR
CSF - PCR for herpes and enteroviruses
Nasopharyngeal aspirate (NPA) - for respiratory viruses using IF or PCR
Urine - for PCR
Blood (clotted) - for antibody detection
Blood (EDTA) - for PCR

## Slide 57: What can we measure?
Detect the infectious virus (virus isolation)
Detect protein components of the virus (p24 antigen in HIV, surface antigen in HBV, etc)
Detect genetic components of the virus (cDNA or RNA) - quantitative or qualitative tests are available
Detect the host response (e.g. antibody or cell responses)

## Slide 58: Serology
HIV antibody
HCV antibody
HBV sAg, eAg e-antibody
Herpes antibodies (HSV, EBV, CMV, VZV etc)
Hepatitis a IgG and IgM
Rubella, parvovirus B19 (erythrovirus)
Measles, mumps serology

## Slide 59: Respiratory infection
Nasopharyngeal aspirate (NPA)
Throat swab
Broncheo-alveolar lavage (BAL)
Blood for PCR if disseminated infection suspected e.g. adenovirus in immunocompromised patient
Acute and convalescent serology

## Slide 60: CNS disease- meningitis/encephalitis
CSF for PCR
Stools and throat swab for enterovirus detection
Serology for West Nile virus infection and other arboviruses. This is why a travel history is so important

## Slide 61: Diarrhoea and vomiting
Stool
Vomit - can be used to detect viruses by electron microscopy, but …
PCR or antigen detection assays for noroviruses best used for stool samples

## Slide 62: Cell culture
Still a gold standard
Relatively slow but still useful as a non-specific method
Main method of herpes simplex and respiratory virus detection
Isolates useful for sensitivity testing
Needed in “forensic” cases
Expensive

## Slide 63
Respiratory Syncytial Virus

## Slide 64: Electron microscopy
Viruses are too small to be seen by light microscopy
They can be visualised using an electron microscope
Useful for identifying structures
Used for stool samples and vesicle fluids

## Slide 68: Immunofluorescence
Useful for the direct detection of viral antigens in clinical samples (e.g. respiratory viruses)
Can be used for typing and culture confirmation
Relatively quick and inexpensive but subjective and very dependent on the skill of the technician and the quality of the sample

## Slide 69: Immunofluorescence

## Slide 70: EIA’s for HIV antibody detection
Detection of specific antibody is an indirect method of detecting infection
Non-specific reactions can be a problem
Important to use multiple formats (generally use 3 different assays)
Interpretation of results must take the clinical circumstances into account

## Slide 71: HIV antibody tests
In UK we use 3 tests
3 formats
Different manufacturers (different antigens)
Test from clot and separated serum
Ask for repeat tests from all new positives

## Slide 72: Point-of-care testing for HIV

## Slide 73: “Real Time” PCR

## Slide 74: What tests would you like to do in this case?
Billy is 26 years old. He has not felt 100% since his holiday in Thailand 4 months ago and has vague aches and pains, loss of appetite, weight loss and has noticed that he has “glands” up in his neck.
On return from Thailand he had a fever, rash, small red patches, some were lumpy, this has subsided.
He also had diarrhoea
Low Na and high K
High urea with normal creatinine
Low albumin
Raised Bilirubin
Raised liver enzymes

## Slide 75: What tests would you like to do?
EBV serology and monospot

## Slide 76: What tests would you like to do?
EBV serology and monospot
CMV serology

## Slide 77: What tests would you like to do?
EBV serology and monospot
CMV serology
Toxoplasma serology

## Slide 78: What tests would you like to do?
EBV serology and monospot
CMV serology
Toxoplasma serology
HIV tests
Viral hepatitis tests, HAV IgM, HBV, HCV and HEV
Syphilis test

## Slide 79: Results
HIV-1 antibody positive
CMV IgG positive, IgM negative
Syphilis EIA negative (IgG)
HBsAg negative
Anti-HCV positive
EBV IgG positive, IgM negative

## Slide 80: Bacteriology Lab
Dr Hugo Donaldson

## Slide 81: Case Study
Billy is 26 years old. He has not felt 100% since his holiday in Thailand 4 months ago and has vague aches and pains, loss of appetite, weight loss and has noticed that he has “glands” up in his neck.
On return from Thailand he had a fever, rash, small red patches, some were lumpy, this has subsided.
He also had diarrhoea

## Slide 82: Microbiological possibilities?
Infectious Diarrhoea
Endocarditis (SBE)
Syphilis
Toxoplasma
Tuberculosis
Brucellosis
Melliodosis

## Slide 83: Common Diagnostic Techniques
Culture i) Sterile sites (blood/CSF) ii) Non sterile sites
Serology
Molecular Techniques

## Slide 84: Blood Cultures

## Slide 85: Positive Blood Cultures

## Slide 86: Positive Blood Cultures

## Slide 88: Gram Positive Cocci in clumps

## Slide 89: Staphylococci coagulase test

## Slide 90: Staphylococci
Staphylococcus aureus (including Methicillin Resistant Staphylococcus aureus, MRSA)
Severe infections eg: skin/soft tissue, endocarditis, osteomyelitis
Coagulase Negative Staphylococci
Skin commensals of low pathogenic potential. Can infect prosthetic material causing line, pacemaker infections and endocarditis

## Slide 91: Gram Positive Cocci in chains

## Slide 92: Haemolytic Streptococci

## Slide 93: Gram negative Bacilli

## Slide 94: Skin is not a sterile site
Rosebury estimates that 50
million individual bacteria
live on the average square
centimeter (5x107/cm2) of
human skin
[5x107/cm2 x 20,000 cm2/
person = 1011 bacteria]
He describes the skin surface
of our bodies as akin to a
"teeming population of people
going Christmas shopping."

## Slide 96: Diarrhoea
Bacteria:
Salmonella (inc S. typhi ), Shigella, Campylobacter,
E coli O157, C difficile, Cholera
Parasites:
Amoeba, Giardia, Cryptosporidium
Viruses

## Slide 97: Stool sample - investigations available
Bacteria
Culture on agar plates.
Only Salmonella, Shigella and Campylobacter
looked for routinely.
Different pathogens have different culture
requirements.
Clostridium difficile – toxin detection or PCR for
toxin gene
Parasites
Concentration, special stains

## Slide 98: Salmonella on XLD agar

## Slide 99: Campylobacter 48 hours

## Slide 100: Vibrio cholerae on TCBS agar

## Slide 101
Tim Planche et al. Diagnosis of Clostridium difficile infection by toxin detection kits: a systematic review
Lancet Infect Dis 2008; 8: 777–84

## Slide 102: Billy’s diarrhoea
Infectious diarrhoea does not usually persist
for 4 months
Don’t usually get systemic disease (but can
with typhoid, amoebic abscess)
Intestinal helminths don’t cause significant
diarrhoea (but could cause rashes, fever,
eosinophilia)

## Slide 103
 | Rash | Lymph nodes | Fever | Weight loss | Diarrhoea | 
SBE |  |  |  | +/- |  | blood culture
Syphilis |  |  |  |  |  | Serum for antibodies
Toxoplasma |  |  |  |  |  | Serum for antibodies
Tuberculosis |  |  |  |  |  | Interferon-γ
Brucellosis | (+/-) |  |  |  |  | Serum for antibodies, blood culture
Other microbiological possibilities

## Slide 105: Seroconversion

## Slide 106
The New ß-Lactamases. George A. Jacoby, M.D., and Luisa Silvia Munoz-Price, M.D. N Engl J Med 2005;352:380-91.

## Slide 107: Billy, microbiologically
………..not an obvious answer
Always include clinical information including travel history on requests.
Contact Infectious Diseases or Microbiology early if you require advice.
Try and send samples for culture prior to starting antibiotics if possible.

## Slide 108: Back to Billy
Billy returns to his GP
Results are –ve for glandular fever
Stool has grown….
He now has some red patches on his lower leg, still has lymphadenopathy and lost more weight…
What tests now?
GP does skin punch biopsy

## Slide 109: Histopathology and Cytopathology Prof Robert Goldin
Diagnosis
Monitor disease and treatment
Margins – staging of cancer

## Slide 110: How are sections obtained?
Identify specimen with unique number
Cut up to cassettes
Process to paraffin wax - dehydrate
Cut thin section – rehydrate – stain (H&E)
Stains – Gram, ZN, Silver, Mucin, Immunoperoxidase

## Slide 111: Histopathology - Surgical and Autopsy Pathology
Frozen sections
What is it?
  Parathyroid
  tumour
Is it all out?
  margins
Spread?
  Lymph nodes

## Slide 112: Cytopathology
Diagnosis of lung tumours – non-invasive
Cytopathology can also aid diagnosis in any endoscopy when brushings of the tumour can be taken
Cervical and breast screening
Fluids (urine, ascites contain cells)

## Slide 113: How long does a histopathology result take to reach the clinician?
“fix” in formalin, process, sections cut and stained and the histopathologist must write the report
For large specimens - 2-3 days.
Small biopsies can be processed in a day and if a rapid diagnosis is required then rapid processing takes 4-5 hours
Frozen section - An answer can be given by phone within 20 minutes

## Slide 114: Cellular Pathology Lab
Billy’s skin biopsy shows an HIV AIDS defining disease – Kaposi’s sarcoma

## Slide 115: Kaposi's sarcoma
Immunocytochemistry CD31 to show vascular tumour infiltrating collagen bundles

## Slide 116: Cellular Pathology Lab
FNA
A fine needle aspiration biopsy of one of the enlarged nodes revealed a mixed cell population
Reactive lymphadenopathy

## Slide 117: Billy’s biopsy
Confirms he has HIV / AIDS as KS
Now needs:
Viral load, from Virology
CD4 count, from Haematology
Referral to HIV docs and put on antiretroviral RX
But ….. These do not agree with him and he has to stop
Can we monitor of HIV progression with immunology tests? What about antibodies?

## Slide 118
Antibodies as Diagnostic Tools
Dr Keith Gould
Department of Immunology
St Mary’s Campus

## Slide 119
Learning objectives:
Explain how antibodies can be generated (experimentally or commercially) for diagnostic purposes
Understand the therapeutic and diagnostics use of manufactured antibodies
Give examples of types of substance that are typically identified diagnostically by means of antibodies
Explain the basic principles of detection methods
Describe the advantages in different situations of the types of detection system: for example, enzyme-linked antibodies, radioactively labelled antibodies, fluorescently-labeled antibodies
Understand how antibodies may be used in clinical practice

## Slide 120
Y

## Slide 121
Y
Y
REPORTER
REPORTERS
Enzymes: e.g. peroxidase, alkaline phosphatase
Fluorescent probes: dyes, beads of different sizes
Radioisotopes
Magnetic beads

## Slide 122
Antibodies in Diagnostics
The unique specificity of antibodies for their target antigens is the basis of many diagnostic tests
Antibodies can be raised against almost any antigen
  Including immunoglobulins from other species
  =anti-antibodies

## Slide 123
Y
Y
Indirect labeling using an anti-antibody

## Slide 124: Antibodies
Produced by the patient
  in autoimmune disease
  for defence against infection
    and in Billy’s case, used to diagnose his infection
Manufactured antibodies
  antisera from immunised animals
  monoclonal antibodies
  “genetically engineered” antibodies

## Slide 125
generating
monoclonal
antibodies

## Slide 126
Production of antibodies using
recombinant DNA technology

## Slide 127
Uses of Manufactured Antibodies
Therapeutic
Prophylactic protection against microbial infection
Anti-cancer therapy
Removal of T-cells from bone marrow grafts
Block cytokine activity

## Slide 128
Therapeutic monoclonal antibodies - nomenclature
Suffix “-omab” mouse monoclonal
  e.g. Muronomab, anti-CD3, transplant immunosuppression (approved 1986)
Suffix “-imab” chimeric or partly humanised
  e.g. Infliximab (Remicade) anti-TNFa, Rituximab anti-CD20
Suffix “-umab” human
  e.g. Palivizumab, anti-RSV (Synagis)

## Slide 129
Uses of Manufactured Antibodies
Therapeutic
Prophylactic protection against microbial infection
Anti-cancer therapy
Removal of T-cells from bone marrow grafts
Block cytokine activity
Diagnostic
Tissue typing
Blood group serology
Immunoassays
  hormones
  antibodies
  antigens
Immunodiagnosis
  Infectious diseases
  Autoimmunity
  Allergy
  Malignancy

## Slide 130
ELISA
Enzyme
Linked
ImmunoSorbent
Assay

## Slide 131
Billy
Diagnosis
HIV antibody test
  Serum antibodies against HIV
Role of Immunology Lab ?

## Slide 132
Billy
Signs & Symptoms
Vague aches and pains
Loss of appetite
Weight loss
“Glands” up in his neck
Fever, rash, small red patches, some lumpy
Immunological Concerns
Immune complexes
Effect of poor nutrition on bone marrow cells
Immune activation
Acute phase, activation, immune complexes

## Slide 133: Billy
Signs and symptoms – Immunological concerns
Immune complexes
  Inflammation
  Serum sickness
  Immune complex glomerulonephritis
  Immune complex deposition at other sites
    Skin
    Joints
    Lungs

## Slide 134: Immune complex glomerulonephritis
IgG immune complexes
Complement C3

## Slide 135: Immune Complexes
adherence
1
2
3
4
5
Immune
Complexes
small
large
Vasoactive
mediators
Platelet
thrombus
Endothelial cells
Basement membrane
Epithelial cells
Urinary Space
Separation of
Endo cells
Attachment
Pass thro
Platelet
aggregation
Inflammatory
cell
damage
Glomerular capillary lumen

## Slide 136: Immunological concerns Immunodeficiency
Serum Immunoglobulin levels
IgG, IgM, IgA and IgG1, IgG2, IgG3, IgG4
(Serum electrophoresis / ELISA / Nephelometry)
Specific Antibodies (ELISA)
Protein antigens – Tetanus & Haemophilus
Polysaccharides antigens – Pneumococcus
Lymphocyte subsets (Flow Cytometry)
CD3 / CD4 / CD8 / CD19 / NK cells

## Slide 137
Serum Electrophoresis
Healthy
Control
Active
Immune
Response
Monoclonal expansion of B cells
? B cell malignancy
Investigate for myeloma
Therefore
Not
Immuno
Deficient

## Slide 138: Lymphocyte subsets
Flow cytometry
Lymphocyte subpopulations
  CD3+ T cells – pan T cell marker
  CD4+ T cells – T helper/cells
  CD8+ T cells – cytotoxic T cells
  CD19+ B cells
  CD56+ Natural Killer (NK) Cells

## Slide 140
Skilled operators
Continuous power supplies
High cost, highly specialised precision equipment
Advanced, reliable infrastructure
Complex IT systems
Standardised sampling

## Slide 141
“green”
antibody
“red”
antibody

## Slide 142
Natural History of HIV infection

## Slide 143
If HIV+ perform CD4 count
Low CD4 count
Commence ART (1st line therapy)
Patient tested for antibodies to HIV
If HIV+ perform viral load
High Viral load
Monitor CD4 count and viral load
ART (2nd line therapy)
CD4 count <
Viral load >
Every 3 months
Increased Life expectancy

## Slide 144
CD4 T cell count defines extent of immune damage and predicts short term outlook in ART naïve HIV-1 patients

## Slide 145
Billy
Immunology:
Diagnosis
HIV antibody test positive
  Serum antibodies against HIV
Monitoring
CD4 lymphocyte count 64 cells per ul
HIV viral load 155,000 copies per ml

## Slide 147: Billy’s progress
Billy gets pneumonia
RX’d but ……

## Slide 148: Autopsy
Progressive wasting and weight loss
Presents in A&E with confusion and bowel obstruction
Dies in A&E
Autopsy

## Slide 149: Autopsies
Coroners
Hospital
Terminal event?
Rx?
Complications?
Cancer site?

## Slide 150: Diagnostics summary
Chemical Pathology Bilirubin 50
Cellular Pathology Biopsy
Immunology
Diagnosis
HIV antibody test positive
  Serum antibodies against HIV
Monitoring
CD4 lymphocyte count
HIV viral load
Virology
Bacteriology
Haematology