## Slide 1: Pre-operative surgical planning of hip replacement: the 5 Ps
Alister Hart
Imperial College London

## Slide 2: Surgical planning and positioning
Planning
Understanding the anatomy: the map
Which place do you want to put them
Achieving
Arriving at where you wanted to be

## Slide 3: What determines how long a hip replacement will last
Surgeon related
Implant related
Patient related
Needs clinical and retrieval analysis

## Slide 4: Component Orientation
What assessed?
  Cup: Inclination, Version
  Femur: Version, Neck-shaft angle, HFO, Length
What is optimal?
  One size fits all (Lewinnek’s box) vs custom fit
How assessed?
  Xr vs CT
  Standing / lying
  Pelvic position (tilt / roll)

## Slide 5: Offset: what is optimal?

## Slide 6: How do you measure offset?
3D CT vs Xray

## Slide 7: What is the optimal Cup Version & Inclination?
One position fits all: 40 & 15
Lewinnek chose:
  40 deg inclination
  15 deg version
  10 deg error around each
What is the normal anatomy?
4 x 3D CT studies
 | Inc | Ver
Murtha | 48 – 67 | 8.5 - 33
Dandachli | 37 – 63 | 1 - 31
Vanden- bussche | 27 – 48 | 6 - 34
Humza | 34 - 62 | 5 - 40

## Slide 8: Cup angles: Lewinnek vs normal hips
Chart: Inclination and version: normal hips
Lewinnek box | 5 | 5 | 25 | 25 | 5

## Slide 9: What is the optimal cup inclination and version
For Wear
30 deg of inclination
But …
For Range of Motion
Cup and femur relevant
50 deg inclination
Combined version

## Slide 10: Impingement

## Slide 11: Spread of cup angles
-33
degrees
69
degrees

## Slide 12: Tilting the pelvis alters the inclination and version angles

## Slide 13: The painful triad: Pain, high metal ions, mass on MRI
3D CT
MARS MRI
Large mass
 | MMZ | Median 88 well functioning MOM hips
Co (ppb) | 328 | 1.7
Cr (ppb) | 136 | 2.3
High blood
metal ions
3D CT
Inclination 70,
version 43
52 yrs, female
ASR june 2005
Jan 2009
Oxford hip score= 40/60

## Slide 14: In vivo hip biomechanics

## Slide 15: CT is the workhorse
3D CT planning of hip replacements (scanning takes 90 seconds). Low dose.
3D CT Computer “checkers” during the operation to confirm the implants are in the correct position
CT scanning with 3D computer analysis of the achieved result

## Slide 16: Mapping the acetabular margin
Centre of acetabular sphere
Points every 2° around the rim, 6pm on clock the named by the IMAN
(Vandenbussche et al 2008)
12
6
3
9

## Slide 17
Using the map: where do you want to go?
Cup flush with psoas valley
Cup proud of psoas valley

## Slide 18: Effect of failure to bottom out
Bottomed out
Bottomed out
More posterior cup visible
Despite same orientation

## Slide 19: Manufacturing industry has quality control Surgeons are semi-skilled fitters

## Slide 20: Imperial College Technology base
Virtual surgery
    For every high value arthroplasty
Computerised assistants
  active robots
    for complex tasks
  passive navigators
    for simpler ones
Validation
    Co-registered ct
    Discriminant function scores
    Metal ion levels

## Slide 21: Conventional Station
Apply the jig (neck based in this study)
  Insert the guide wire
    down the planned trajectory
Guide wire entry point

## Slide 22: Planned Navigation
Task1 30 points
3 zones

## Slide 23: Planned navigation
Task 2 Navigation of wire
  according to plan

## Slide 24: Angular error
conventional: 1 sd = 5 °
Image free: 9 °
CTbased: 2 °

## Slide 25: The map

## Slide 26
What I do: the plan
Cup flush with psoas valley
Cup proud of psoas valley

## Slide 27
Achieving: CT based nagivation

## Slide 28
Conclusions
Perfect Planning …
Requires understanding:
  The map (anatomy)
  The implant
  The plan
  Its execution