## Slide 1: Principles and applications of radiotherapy
Dr Park
Consultant Clinical Oncology

## Slide 2: Radiation
Emission and propagation of energy through space or a material medium
  Waves sometimes behave like particles
  Particles sometimes behave like waves

## Slide 3: History
X-rays discovered by Wilhelm Roentgen 1895.
Nobel prize for physics 1901.

## Slide 4: History
Radioactivity discovered by Henri Becqueral 1896
Left a rock in a draw with a photographic plate.
1903 shared Nobel prize for physics with the Curies.

## Slide 5: History – Bizarre uses of radium 1900s
Luminescent dials on clocks
Health goods
  tonics, toothpaste, ointments

## Slide 6: History
1901 Intracavitary radium for uterine tumours – Cleaves, Abbe
1912 Coolidge 200kv “deep X-ray hot tube”

## Slide 7: What is radiotherapy used for?
Radical treatment of malignancy
Neoadjuvant/Adjuvant therapy
Treatment of oligometastatic disease
Palliation

## Slide 8: What is Radiotherapy?
High energy ionising radiation
  X-rays
  Gamma rays
  Electrons
  Protons

## Slide 9: Which type should we use?

## Slide 10: Mechanism of Cell Death
Direct and indirect damage of DNA leading to mitotic crisis.
Apoptosis
Senesence

## Slide 11: Radiotherapy Principles
Relationship between dose and tumour control
Dose limited by risk of toxicity
Exploiting difference in tumour and normal tissue response to radiotherapy.
Complications
Tumour Control
Dose
Incidence

## Slide 12: Target Volume Definitions ICRU 50 and ICRU 62
GTV Macroscopic disease
CTV Microscopic disease
PTV Margin added
IM internal organ motion SM daily set-up error
OAR Organs at risk

## Slide 13: Target Volume Definitions ICRU 50 and ICRU 62
GTV – macroscopic disease
Notes: 13

## Slide 14: Gross tumour volume (GTV)
Macroscopic disease = Volume to receive a high dose
If geographical miss will inevitably fail
Localisation
  CT - intravenous contrast
  MRI
  CT-PET
  Clinical examination
Notes: CT has significant limitations for defining tumour. Even with contrast, it can be difficult to differentiate tumour from uterine body, bladder, bowel and to determine appropriate length of vagina to treat.
MRI provides superior soft tissue resolution and is the best imaging technique for staging gynae tumours. Defines tumour size, and extent into surrounding tissues.
In cervical cancer, detecting tumour invasion into parametrium, vagina and uterine body and surrounding structures.
PET is useful for detecting pelvic, para-aortic and distant metastases. Only useful for planning if can detect site – needs to be CT PET. For local disease and defining target volume accurately – controversial as lacks adequate resolution. Needs to be in conjunction.
14

## Slide 15: Target Volume Definitions ICRU 50 and ICRU 62
GTV – macroscopic disease
CTV – microscopic disease
Notes: 15

## Slide 16: CTV (Clinical target volume)
What should be included in the CTV?
  Direct spread
  Lymphatic drainage
  Metastatic spread

## Slide 17: CTV
Clinical target volume determined by:
  Recurrence data
  Pathological series

## Slide 18: Target Volume Definitions ICRU 50 and ICRU 62
GTV – macroscopic disease
CTV – microscopic disease
OAR – organs at risk
Notes: 18

## Slide 19: Target Volume Definitions ICRU 50 and ICRU 62
GTV – macroscopic disease
CTV – microscopic disease
OAR – organs at risk
PTV – planning target volume
- set up error
-internal motion
Notes: 19

## Slide 20: Why do we fractionate?
Late toxicity in normal tissues more likely with larger dose per fraction.
More accurate delivery allows hypofractionation.

## Slide 21: Which type should we use?

## Slide 22: Linear Accelerator
Picture courtesy of Varian Medical Systems

## Slide 23: Conventional Radiotherapy – 2 Fields
Example:
Pelvic Radiotherapy for Gynaecological Cancer

## Slide 24: Conventional Radiotherapy – 4 Fields
Example:
Pelvic Radiotherapy for Gynaecological Cancer

## Slide 25: IMRT – 7 Fields
Example:
Pelvic Radiotherapy for Gynaecological Cancer

## Slide 26
Conformal RT
IMRT

## Slide 27: Simultaneous integrated boost IMRT (dose painting)

## Slide 28: Practical Aspects
Planning CT scan +/- contrast
Immobilisation + marking with tattoos
Bladder/Bowel filling instructions

## Slide 29
Week 1
Week 3
Bladder Filling

## Slide 30: Brachytherapy
Application of radioactive source next to or in target.
PTV not an issue
High dose close to source with rapid drop off in dose.
Commonly used in:
  Cervix cancer
  Prostate cancer
  Endometrial cancer

## Slide 31: Cervix Brachytherapy Dosimetry
Image courtesy of Varian Medical Systems

## Slide 32: Prostate Brachytherapy
Donald B. Fuller IJROBP 2007:70:1588

## Slide 33: Image-guided radiotherapy
Cone beam CT
Tomotherapy

## Slide 34: Potential use of cone beam CT
Check target volume is covered daily
Determine if reproducible pattern of movement
Select from several library plans depending on daily position
Detect changes in target volume
Register daily CT to planning CT
Notes: 34

## Slide 35: Linac based stereotactic therapy
Respiratory gating
Varian trilogy
4D CT
Notes: 35

## Slide 36: Cyberknife therapy
Produces 6MV X-rays
Robotic movement
X-Ray detectors at 900
Multiple fields
Takes 30 – 150 minutes per fraction
Small number of fractions
Tracks fiducial markers or bony landmarks
- Can move with respiration
- Can move with bowel gas
Notes: 36

## Slide 37: Target Volume Definitions ICRU 50 and ICRU 62
OAR – organs at risk
PTV – planning target volume
Notes: 37

## Slide 38: Target Volume Definitions ICRU 50 and ICRU 62
OAR – organs at risk
PTV – planning target volume
Notes: 38

## Slide 39: Toxicity
Short and long term toxicity.
Depends on structures being irradiated.

## Slide 40
Gynae slides courtesy of Dr A. Taylor