## Slide 1: Introduction to flow cytometry
Dr Aris Chaidos MD PhD
Consultant Haematologist (Locum)
BSc Haematology Introduction Module 2012
a.chaidos@imperial.ac.uk

## Slide 2: Flow Cytometry
A fascinating technology for the study of cells or other particles
Qualitative & Quantitative data
Multiparametric analysis
Analysis of large number of cells
Many applications in haematology and immunology

## Slide 3: Historical aspects
Light microscopy:
cell-to-cell analysis
Fluorescence microscopy:
study of phenotypes

## Slide 4: How it was made possible: the monoclonal antibodies (Mabs)
Kohler, Milstein and Jerne, Nobel Prize (1984)
MAbs recognise a single antigen epitope

## Slide 5: Cluster of Differentiation (CD) nomenclature

## Slide 6: How it was made possible: the fluorochromes
Molecules that can absorb a LASER light (excitation) and release emitted light at different wavelengths (emission spectrum)
Fluorochrome-conjugated monoclonal Abs recognise different cell protein-targets
LASER
488nm
LASER
407nm

## Slide 7: The Flow Cytometer: what is in the box…
Flucidics
a system of lines directs the fluid stream and centres the cells to the light beam
LASER beams
Optics
Light filters, mirrors and optic fibres
Electronics
Light detectors
Signal processing
Computer
Data harnessing and analysis

## Slide 8: The Flow Cytometer: making signal from cells

## Slide 9: material for analysis
single cell suspension
(WBC, RBC, PLT etc)
peripheral blood
bone marrow aspirate
Other body fluids
(ascites, CSF, pleural etc)
solid tissues!
(lymph nodes)
Cells
(50-100µl)
MAbs
Sample processing
Incubation 20min
wash of Mabs
excess in buffer
acquisition in the
flow cytometer

## Slide 10: data presentation and analysis
Dot plots
Contour plots
pseudocolour
normal peripheral blood
lymphocytes
debris
neutrophils
monocytes

## Slide 11: data presentation and analysis
histograms
gating
SSC = sideways scatter
FSC = forwards scatter

## Slide 12: data presentation and analysis
gating

## Slide 13: data presentation and analysis
overlay
monocytes
T cells
staining intensity:
Median Fluorescence Intensity (MFI)
MFI
9177
MFI
1679
monocytes
T cells

## Slide 14: data presentation and analysis
CD3+ (T cells)
CD3+CD4+
CD3
CD4
CD8
FoxP3 (intracellular)
CD25
Tregs
CD3+CD4+CD25+highFoxP3+
Intracellular antigen flow cytometry:
the example of T regulatory cells

## Slide 15: Applications in Clinical Haematology
Diagnosis & classification of leukaemias and lymphomas
Detection of minimal residual disease
Measurement of the absolute CD4+ T cells number
Measurement of CD34+ cells in bone marrow grafts
Assessment of lymphocyte clonality: kappa / lambda or TCR
Diagnosis of paroxysmal nocturnal haemoglobinuria (PNH)
Feto-maternal haemorrhage
Diagnosis of platelet disorders

## Slide 16: Phenotyping normal vs malignancy
Normal physical characteristics (FSC/SSC)
Normal blood cells gain or lose antigen expression during differentiation stages
Lineage specific markers
Normal patterns of antigen expression
Polyclonal
(B cells / or T cells TCRαβ)
Abnormal FSC/SSC pattern, predominant population
Immature phenotypes in great number in the periphery or marrow
Aberrant markers (lineage infidelity)
Aberrant combinations of CD antigens
Monoclonal
normal
leukaemia/lymphoma

## Slide 17: Acute myeloid leukaemia
classification, prognosis, minimal residual disease
Low SSC: hypogranularity
Non-lineage specific markers
  CD34 (stem cells)
  CD45 (most leukocytes)
  HLA-DR
Myeloid markers
  Myeloperoxidase (MPO)
  CD33
  CD117 (c-kit receptor)
  CD13
Aberrant expression
  CD2
  CD7
  CD56
Erythroid
  Glycophorin A
Megakaryocytic
  CD41/CD61

## Slide 18: Acute myeloid leukaemia
Some expression patterns may indicate
certain genetic abnormalities
AML t(8;21)(q22;q22)
  CD19 and CD79b (B cell markers)
AML inv(16) or t(16;16)
  Strong expression CD34 & CD117
  Frequent CD2 (T/NK cell marker)

## Slide 19: Acute promyelocytic leukaemia
t(15;17)(q22;q12);PML-RARA
CD34- HLADR- MPO++ CD33+ CD13+

## Slide 20: Acute lymphoblastic leukaemia
classification, prognosis, minimal residual disease
B-ALL
  CD34
  CD19
  cytoplasmic CD79b
  cytoplasmic CD22
  Terminal deoxynucleotidyl transferase (TdT)
  CD10
T-ALL
  CD34
  TdT
  CD1a
  CD2
  CD3
  CD5

## Slide 21: Acute lymphoblastic leukaemia
classification, prognosis, minimal residual disease

## Slide 22: Chronic lymphocytic leukaemia (CLL)
CLL score
B cells
T cells
B cells
T cells
CLL
CD19
CD5
CD5
CD19
normal
CLL
  sIgM/IgD: weak
  CD5: +
  CD23: +
  CD79b/CD22: weak/-
  FMC7: -

## Slide 23: Clonality of B lymphocytes
normal leukocytes
B cells
cytoplasmic lambda
cytoplasmic kappa
42%
58%
polyclonal
MGUS marrow
Plasma cells
cytoplasmic lambda
cytoplasmic kappa
6%
94%
kappa light chain restriction

## Slide 24: MRD: minimal residual disease
CD38
CD138
0.4%
Plasma cells
myeloma marrow
CD56
CD19
19%
81%
normal
plasma cells
myeloma
plasma cells
Detection of residual myeloma cells post treatment

## Slide 25: Diagnosis of Red Cell disorders
Paroxysmal Nocturnal Haemoglobinuria (PNH)
  Rare disease, acquired mutation of PIG-A gene in stem cells
  Unable to produce glycosylphospatidylinositol (GPI)
  Loss of expression of several surface molecules e.g. CD59
RBC
PLT
control
normal
PNH
PNH
clone

## Slide 26: Diagnosis of Red Cell disorders
Feto-maternal haemorrhage
Detection of fetal RBC using anti-HbF
Source: Trillium Diagnostics, LLC

## Slide 27: Diagnosis of platelet disorders
Inheriting glycoprotein deficiencies & functional assays
  Investigate or confirm diagnosis of
    Glanzmann thrombasthenia: defect of Gp IIb/IIIa (CD41/CD61)
    Bernard-Soulier syndrome: defect of Gp Ib (CD42b)
    Scott syndrome (defect of phosphatidylserine translocation)
  Diagnosis of platelet storage pool diseases
  Monitoring of GpIIb/IIIa antagonist therapy

## Slide 28: Diagnosis of platelet disorders
Glanzmann thrombasthenia
normal
Glanzmann thrombasthenia
Source: Practical-Hemostasis.com

## Slide 29: Diagnosis of platelet disorders
Bernard-Soulier syndrome
Source: Practical-Hemostasis.com
transfused
platelets
CD42b-
platelets

## Slide 30: Summary
  Flow cytometry is a powerful technology for the phenotypic and functional, multi-parameter analysis of large number of cells
  Many clinical application in haematology
    Diagnosis, classification and follow-up of leukaemias/lymphomas
    Minimal residual disease
    Transfusion and stem cell transplantation
    Haemostasis
  Immunophenotyping is essential component of the modern haematology diagnostics, along with morphology, cytogenetics and molecular diagnostics