## Slide 1: Pathophysiology of Von Willebrand Disease
Carolyn Millar
Imperial College London

## Slide 2: Learning outcomes
By the end of this lecture the student should be able to:
Describe factors that affect VWF level
Understand why some properties of VWF make its measurement challenging
Describe the tests used to assess VWF level and functions
Explain how the principles and results of the tests allow von Willebrand disease to be classified and be familiar with the abnormalities found in each subtype
Describe basis of VWD inheritance and available treatment

## Slide 3: Von Willebrand Disease: Original kindred

## Slide 4: Von Willebrand Disease
A quantitative or qualitative deficiency of VWF leading to an increased tendency to bleeding.
Defect of primary haemostasis
  Prolonged bleeding time, mucocutaneous bleeding
Reduced level of Factor VIII
  Coagulation defect – deep bleeding
Generally mild to moderate severity.
Most common inherited bleeding disorder in humans
  Population prevalence ~1%(Rodeghiero 1987)
  Prevalence of symptomatic VWD ~1 in 10 000(Bloom 1991)
  ~8000 patients registered in UK

## Slide 5: VWF: recap on the basics
1. Form a bridge between damaged vessel wall
and platelets (under high shear)
2. Stabilise and protect Factor VIII
VWF functions

## Slide 6: VWF is a multi-domain protein
SP D1 D2 D’ D3 A1 A2 A3 D4 B123 C1 C2 CK
Propeptide
VWF
FVIII
Heparin
GpIIb/IIIa
Multimer
Dimer
GpIb
Heparin
Collagen
Collagen
Furin
ADAMTS13
1. Multiple functional sites

## Slide 7
C
N
Cell
Plasma
VWF assembly
ADAMTS 13

## Slide 8
UL-VWF
VWF
monomer
VWF
VWF
GpIb
&
Collagen
Binding
Affinity
VWF multimeric size
VWF function depends on multimeric composition
2. Multimeric structure

## Slide 9
Not all VWF is in the plasma
ER
Golgi
Regulated path (5%)
Plasma
Ablumenal
Sub endothelial
matrix
Constitutive path (95%)
Weibel-Palade bodies
3. Multiple pools of VWF
Platelet a granules

## Slide 10: Wide normal range(s)
Campos M et al. Blood 2011;117:5224-5230
Normal values vary over approximately 6 fold range
VWF:Ag

## Slide 11: VWF plasma levels
VWF plasma levels vary over a six fold range
  Normal range: 40 – 240 IUdL-1
VWF levels are elevated at birth
  Fall to baseline levels by ~ 6 months of age
VWF levels rise slowly with age (~10 IUdL-1 per decade)

## Slide 12
Factors affecting VWF level
Environmental/ Physiological
  Age
  Stress
  Exercise
  Pregnancy
  OCP/HRT
  Thyroid disease
  Venepuncture
  Inflammation
40%
40%
20%
Genetic
ABO blood group
Ethnicity
?? Other modifiers

## Slide 13
Influence of ABO blood group on VWF:Ag
ABO type
O
A
B
AB
n
456
340
196
109
VWF :Ag
Geometric mean
74.8
105.9
116.9
123.3
VWF:Ag
Geometric mean
± 2SD
35.6 - 157.0
48.0 - 233.9
56.8 - 241.0
63.8 - 238.2
Gill 1987
Overall 100 50 - 200

## Slide 14: Problems with assessing VWF
Multiple binding interactions Yes
Multimeric structure Yes+/-
Not all VWF is in the plasma No
ABO group and normal ranges No
Effects of stress and age Yes
In vivo function is shear dependent No
Important?

## Slide 15: Measuring VWF
Antigen (VWF:Ag)
Platelet binding (VWF:RCo)
Collagen binding (VWF:CB)
Factor VIII binding (VWF:FVIIIB)
Multimeric structure
Ristocetin sensitivity (RIPA)

## Slide 16
VWF Quantitation: Antigen
Laurell rocket
ELISA
Immunoturbidimetric
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
Y
VWF
VWF:Ag assays
Accurate, sensitive, automated
Reliable, low CV
Basic information, useful for typing
No functional information

## Slide 17
VWF:RCo - platelet dependent function
Platelet
Platelet
Platelet
Test plasma (VWF)
Fixed washed platelets
VWF
GPIb
Ristocetin A
Glycopeptide antibiotic
Nocardia lurida
Dimerises
Ristocetin A

## Slide 18
VWF:RCo
Platelet
Platelet
Platelet
Test plasma (VWF)
Fixed washed platelets
Ristocetin alters VWF configuration and makes A1 available for GPIb binding.
Platelets agglutinate (passive)
Agglutination measured in aggregometer as decreased turbidity

## Slide 19: VWF:RCo platelet dependent function
Ristocetin is an antibiotic; binds to VWF and platelets
Agglutinates platelets in presence of VWF; measured by aggregometer but can be automated
Requires HMWM with functional GPIb-binding site
Critical VWF binding function, but poor reproducibility
Performed with excess Ristocetin and dilutions of plasma

## Slide 20: Ristocetin induced platelet agglutination (RIPA)
Test of sensitivity to ristocetin
Performed with undiluted plasma
Limiting concentrations of ristocetin
Diagnostic test for Type 2B VWD (or ‘platelet type’ VWD)

## Slide 21: RIPA and Type 2B VWD
Ristocetin 0.5 mg/ml
Ristocetin 0.75 mg/ml
Ristocetin 1.5 mg/ml
Ristocetin 0.25 mg/ml
Agglutination at ristocetin 0.7mg/ml or less is abnormal

## Slide 22: Collagen binding activity (VWF:CB)
VWF has two collagen binding domains
  A1 – binds Collagen types I, III and VI
  A3 – binds Collagen types I and III
VWF binds collagen at rest and under flow
  some binding only seen under flow conditions
Requires HMWM with functional collagen binding site

## Slide 23
Collagen binding assay
Collagen bound to ELISA plate
APAAP conjugated
Anti-vWF antibody
Test vWF

## Slide 24
Collagen binding assay: sensitive to multimeric composition
Siekmann 1998

## Slide 25: VWF: multimer analysis
Budde 2008
Dimerisation Mulimerisation NP 2B 2A 2M (sm)

## Slide 26
Factor VIII binding capacity of VWF (VWF:FVIIIB)
FVIIIc APTT based assay
ELISA based binding assay:
Xa
Anti VWF
Test VWF with endogenous
FVIII removed
rFVIII
Chromogenic assay for FVIII
Or
ELISA

## Slide 27: VWF Factor VIII binding (VWF:FVIIIB)
Diagnostic test for VWD Type 2N
Can identify heterozygotes
(Heterozygotes have normal FVIII)
Genetic tests may substitute
100 IUdL-1 is ‘normal’ for both FVIII and VWF
  But VWF is in 50 fold molar excess
  FVIII often well maintained with minor reduction in VWF
NB

## Slide 28: VWD: classification
Basic principles and results of Ag and function allow classification

## Slide 29: Von Willebrand Disease: Hierarchical Classification
Primary Classification
  Type 1 (75 - 80%): quantitative deficiency Function = Antigen
  Type 2 (15 - 20%): qualitative deficiency Function < Antigen (0.7)
  Type 3 (<5%): virtual complete deficiency
Secondary Classification
  Types 2A, 2B, 2M and 2N

## Slide 30
Significant mucocutaneous bleeding
  2 symptoms, 1 symptom plus BT or 1 symptom x3, BS > 4
Appropriate laboratory results
  VWF:RCo and VWF:Ag < 2SD below pop and ABO adjusted mean
  VWF is normal (Function:Ag ratio ≥0.7)
  RIPA neg, VWF multimers normal
Positive family history or appropriate VWF mutation
  One first degree relative or ≥ 2 second degree relatives
Type 1 VWD
Sadler 2005

## Slide 31: Type 2 von Willebrand Disease
2A: decreased platelet dependent function, absent HMW multimers
2B: increased affinity for platelet GpIb (RIPA), absent HMWM, (usually) thrombocytopenia.
2M: decreased platelet dependent function, NOT caused by absence of HMW multimers.
2N: decreased affinity for factor VIII
Secondary Classification
(Function < 0.7 Antigen)

## Slide 32: Type 2A von Willebrand disease
Intracellular processing defect
retention of VWF in ER
large multimers more likely to contain
mutant subunit: retained in ER
normal secretion of smaller multimers
Enhanced ADAMTS-13
-mediated proteolysis
1605-1606
↓
loss of large multimers
Other causes HMW deficiency:
Defects in dimerisation
Defects in multimerisation
intracellular proteolysis

## Slide 33: Type 2A von Willebrand disease
Loss of platelet-dependent function with loss of HMW multimers
~60 mutations: missense
Autosomal dominant
D1
D2
D3
A1
A2
A3
D4
C1
C2
CK
2A
2A
2A
2A
N
C
D’
Multimerisation
Protein folding
ADAMTS cleavage
Dimerisation

## Slide 34: Type 2M von Willebrand disease
Loss of platelet-dependent function (normal multimers)
  functional loss of VWF binding to GpIb
  Collagen binding function preserved
16 of the 18 reported mutations in A1 domain
Autosomal dominant
Type 2C – loss of CBA with normal multimers?
D1
D2
D’
D3
A1
A2
A3
D4
C1
C2
CK
N
C
2M
2C

## Slide 35: Type 2B von Willebrand disease
Spontaneous VWF-platelet interaction in vivo
Platelet binding leads to:
  Thrombocytopenia
  Loss of HMWM
    Increased clearance with platelets
    Increased ADAMTS cleavage
Increased sensitivity to Ristocetin in vitro (RIPA +ve)
Autosomal dominant
D1
D2
D’
D3
A1
A2
A3
D4
C1
C2
CK
N
C
2B

## Slide 36
VWF A1 domain in VWD Type 2M and 2B
Jenkins 1998
2M
2B

## Slide 37: Type 2N von Willebrand disease
Loss of Factor VIII binding function (FVIII<Ag)
  Normal multimers
  Normal adhesive (platelet, collagen) function
  FVIII – short half life (5-30 IUdL-1)
  Looks like mild/moderate haemophilia A
Mutations in Factor VIII binding site of VWF
Autosomal recessive inheritance (males = females)
D1
D2
D’
D3
A1
A2
A3
D4
C1
C2
CK
N
C
2N

## Slide 38: Type 3 von Willebrand disease
Absence of VWF
  FVIII is also low
Autosomal recessive trait
Rarely a diagnostic problem
Prevalence ~1 in 1 million/500,000

## Slide 39: Type 3 von Willebrand disease
FVIII:C
VWF:Ag
VWF:RCo
FVIII:C
VWF:Ag
VWF:RCo
97 IUdL-1
79 IUdL-1
94 IUdL-1
63 IUdL-1
52 IUdL-1
61 IUdL-1
FVIII:C 4 IUdL-1
VWF:Ag 0 IUdL-1
VWF:RCo 0 IUdL-1

## Slide 40: Type 3 von Willebrand disease
Gene deletions
Gene insertions
Nonsense mutations
Splice site mutations
Missense mutations*
  *loss of cysteines: D3-domain, C-terminus
  Most cases compound heterozygotes
  Parents not usually affected (ie: heterozygous null mutations do not cause significant bleeding/VWD)
Null Phenotype

## Slide 41: Molecular analysis of VWF gene
The Challenges
  178 kb, 9 kb coding sequence
  52 exons: Exons 2 – 18: Signal peptide, propeptide
  Partial pseudogenecopy (exons 23-34): 97% homology
Useful in clarifying VWD phenotype: targeted analysis
  Subtyping qualitative variants
  Distinguishing type 2M from type 1
  Distinguishing type 2N VWD from mild haemophilia A or carrier state
  Distinguishing type 2B from platelet-type (pseudo)
ISTH VWD Mutation Database:http://www.shef.ac.uk/vwf/

## Slide 42: VWD: diagnosis
Does the patient have a significant bleeding disorder?
Is that disorder attributable to deficiency of VWF function?

## Slide 43: Is bleeding due to VWD?
Are the VWF level and function abnormally low?
Is the VWF level and function low enough to cause a bleeding tendency?
Type 3 – obvious
Type 2 – usually clear
Type 1 - often unclear: ‘low VWF’ or ‘VWD’?

## Slide 44: Is bleeding due to VWD?
Are the VWF level and function abnormally low?
Is the VWF level and function low enough to cause a bleeding tendency?
Type 3 – obvious: undetectable/v low VWF
Type 2 – usually clear: VWF function/Ag <0.7
Type 1 - often unclear: ‘low VWF’ or ‘VWD’?

## Slide 45: Confusion of type 1 VWD
  Type 1 VWD is the most difficult to diagnose
Problems
  Many patients with VWF levels < normal range do not bleed
  Some do bleed
  Lower limit of normal is not the minimum required for effective haemostasis
  Should avoid burden of diagnosis
Paradox
  Broad distribution of normal VWF levels
  High prevalence of mild bleeding symptoms

## Slide 46: Minor bleeding symptoms are common
Easy bruising 12%
Gum bleeding 7%
Frequent nosebleeds 5%
Bleeding after tooth extraction 2.5%
Post operative bleeding 1.4%
In women
Menorrhagia 23%
Post partum bleeding 6%
Family history 44%

## Slide 47
Nosek-Cenkowska 1991
History and Bleeding after tonsillectomy
non bleeding
%(228)
vWD/platelet disorder
Easy bruising
Frequent bruising
Epistaxes
>10mins
Bruises >1 site
Large bruises
%(31)
24
36
39
4
4.9
3.6
2.7
67
68
69
47
39
30
22
Haematomata

## Slide 48: Bleeding symptoms and type 1 VWD
Tosetto 2005
(AFM vs UFM)
Notes: .

## Slide 49: Standardised history: Bleeding score
Score | -1 | 0 | 1 | 2 | 3
Tooth extraction | no, trivial, none done | <25% of all procedures, no intervention | >25% of all procedures, intervention | Resuturing or packing | Blood transfusion, replacement therapy, desmopressin
Bowman et al. JTH 2008; 6: 2062-6,
Repeat for oral cavity, minor wounds, GI, epistaxis etc.
BS <4 is normal

## Slide 50: VWF level and Bleeding Score in Type 1 VWD
Tosetto 2006

## Slide 51: European Type 1 study
VWF<30: likely to bleed, mutation likely
  = VWD
VWF>30 ;
  only 50% linked to VWF gene (41% in Canada study)
  Bleeding symptoms not significantly linked to VWF gene
  High proportion group O
  Do not routinely label as ‘VWD’
There is no definite threshold for bleeding/non bleeding

## Slide 52: VWD: management
What is the appropriate treatment?

## Slide 53: Choice of therapy for VWD
Nothing
Tranexamic acid
Desmopressin (DDAVP)
Replacement
  Intermediate purity FVIII-VWF concentrate
  High purity VWF
  Cryoprecipitate
  Platelets (VWF in a granules)
  (Recombinant VWF)

## Slide 54: VWD therapy – desmopressin response
Type 1 - most except the most severe
- most combined (‘low VWF’) defects
Type 2 - limited or inadequate response
Type 3 - No

## Slide 55: DDAVP response in Type 1 VWD
Federici 2004

## Slide 56: Response to DDAVP in type 2A VWD
Federici 2004

## Slide 57
Federici 2004
Response to DDAVP in type 2M VWD

## Slide 58: DDAVP response in Type 2N VWD
Federici 2004

## Slide 59: Problems with DDAVP
Response
  Variable
  Tachyphylaxis
  ‘Vicenza’ type VWD with rapid clearance
  Type 2N
Adverse events
  Hyponatraemia in young (<2)
  Thrombosis in elderly (>60 or with atherosclerosis)

## Slide 60
Mannucci 1992
NB: Tachyphylaxis

## Slide 61: VWD: inheritance
What is the likelihood that other members of the family will be affected?

## Slide 62: Will other family members be affected?
Type 1 Autosomal dominant
            Heritability varies with severity
            Interaction between mutant and normal subunits leading to VWF reduction of >50%: Dominant negative effect
            Recessive effect: co-inheritance with null allele
            Mild forms show non-segregation and incomplete penetrance
Type 2
  2A Autosomal dominant (occ. recessive)
  2B Autosomal dominant
  2M Autosomal dominant
  2N Autosomal recessive
Type 3 Autosomal recessive
            Not homozygous Type 1

## Slide 63
Heritability - LOW
Heritability - HIGH
VWF mutations
ABO blood group
VWF polymorphisms
Other genetic modifiers
Dominant negative
VWF mutations
VWF level
50 IUdL-1
0 IUdL-1
+
+
+
Incomplete penetrance
Highly penetrant
Type 1 VWD

## Slide 64: Summary
The student should now be able to:
Describe factors that affect VWF level
Understand why some properties of VWF make its measurement challenging
Describe the tests used to assess VWF level and functions
Explain how the principles and results of the tests allow von Willebrand disease to be classified and be familiar with the abnormalities found in each subtype
Describe basis of VWD inheritance and available treatment

## Slide 65: References and links
Pathophysiology and classification VWD
  JTH. 2006 Oct;4(10):2103-14.
Bleeding score:
  http://www3.interscience.wiley.com/journal/121429621/suppinfo
  JTH 2008; 6: 2062-2066
UKHCDO diagnostic guidelines:
  Haemophilia 2004 10 199-217, 218-231
USA guidelines
  http://www.nhlbi.nih.gov/guidelines/vwd/index.htm
  Haemophilia 2008 14 171-232
VWF database: http://www.vwf.group.shef.ac.uk/